| Confined Space - PTW Number / WO Number: |  |
| --- | --- |

Introduction

This Confined Space Control Form is designed to ensure the safe entry and execution of work within confined spaces in accordance with regulatory requirements and company safety standards. It serves as a critical component of the Permit to Work (PTW) system, outlining the necessary details, control measures, and authorisations required before any confined space activity begins.

The form provides a structured approach to:

- Identify and document the confined space and associated hazards.

- Specify isolation, ventilation, and atmospheric monitoring requirements.

- Detail communication, standby, and rescue provisions.

- Confirm the availability of appropriate personal protective equipment (PPE).

- Record atmospheric test results and authorisations for entry and withdrawal.

Completion of this form is mandatory for all confined space entries and must be accompanied by relevant risk assessments, isolation certificates, and emergency response plans. All personnel involved must review and acknowledge the procedures outlined herein to maintain compliance and safeguard health and safety.

| Section 1 – Confined Space Details |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Description of Confined Space: |  |  |  |  |  |
| Location: |  |  |  |  |  |
| Potential hazards: |  |  |  |  |  |
| Work activity title: (As per the Work Activity Risk Assessment: INCLUDE RISK ASSESSMENT NUMBER) |  |  |  |  |  |
| Scope of Work: (Reason for entry) |  |  |  |  |  |
| Section 2 – Entry Permit Requirements align with Work Health and Safety Regulation 2011 and the 2021 Code of Practice |  |  |  |  |  |
| Isolation Controls: |  |  |  |  |  |
| Space needs to be isolated from: |  |  | Yes | No | If Yes, a Plant Isolation Control Form must also be completed and implemented as part of this Confined Space Entry and/or work |
| Water / Gas / Steam / Chemicals |  |  |  |  |  |
| Mechanical / Electrical drives |  |  |  |  |  |
| Hydraulic / Electric / Gas / Power |  |  |  |  |  |
| Sludge / Deposits / Wastes |  |  |  |  |  |
| Auto fire extinguishing systems |  |  |  |  |  |
| Other: |  |  |  |  |  |

| Confined Space - PTW Number / WO Number: |  |
| --- | --- |

| Purging, Ventilation & Atmospheric Monitoring Controls: |  |  |  |  |
| --- | --- | --- | --- | --- |
| Space requires the following: |  | Yes | No | Must provide details regarding atmospheric controls to be used: |
| Depressurisation |  |  |  |  |
| Opening / venting |  |  |  |  |
| Continuous purging / extraction |  |  |  |  |
| Atmospheric Testing |  |  |  |  |
| Atmospheric testing required for: |  |  |  | Type of testing / monitoring required: Initial only – Prior to entry and each subsequent day Continuous for atmospheric contaminants Continuous for flammable contaminants |
| O2 | H2S |  |  |  |
| CO2 | NH3 |  |  |  |
| CO | LEL |  |  |  |
| Other: |  |  |  |  |
| Communication & Stand-by Controls: |  |  |  |  |
| Minimum requirements will include: |  | Yes | No | Provide clarifying details as required: |
| One stand-by person |  |  |  |  |
| Two/more stand-by persons |  |  |  |  |
| Rescue team |  |  |  |  |
| Communication via voice / direct sight |  |  |  |  |
| Communication via radio |  |  |  |  |
| Communication via hand signals / other means |  |  |  |  |
| Recording of harness and other rescue equipment in test period |  |  |  |  |
| Rescue / Retrieval Considerations: |  |  |  |  |
| Minimum provisions required: |  | Yes | No | Provide additional clarifying details – specifically for complex scenarios: |
| Stand-by person |  |  |  |  |
| Safety harness/rescue kit in vicinity with competent user(s) |  |  |  |  |
| Specific access platforms/scaffolding erected |  |  |  |  |
| Specific fire fighting provisions |  |  |  |  |
| First aid kit in vicinity |  |  |  |  |
| Exactly how will the alarm be raised and by whom? |  |  |  |  |
| What kind of emergencies are contemplated? |  |  |  |  |
| Is the appropriate first aid equipment available for immediate use? |  |  |  |  |
| Are rescuers properly trained, sufficiently fit to carry out their task and capable of using any equipment provided for rescue |  |  |  |  |
| Have prior arrangements been made with local emergency services to ensure they are able to respond in a reasonable time and have the specialist confined space retrieval equipment and readily available? |  |  |  |  |
| Other: |  |  |  |  |
| Attachments (other documents/plans, etc)? |  |  |  |  |

| Confined Space - PTW Number / WO Number: |  |
| --- | --- |

| Personal Protective Equipment (PPE) Requirements & Other Precautions |  |  |  |
| --- | --- | --- | --- |
| Minimum PPE / other items required: | Yes | No | Provide clarifying details as required: |
| Supplied air breathing apparatus |  |  |  |
| Air purifying respirator |  |  |  |
| Particulate mask |  |  |  |
| Safety harness and lanyard / lifeline |  |  |  |
| Head protection |  |  |  |
| Face shield / goggles / safety glasses |  |  |  |
| Ear muffs / plugs |  |  |  |
| Gloves |  |  |  |
| Warning notices / barricades required |  |  |  |
| Specific lighting provisions required |  |  |  |
| Specific hot work controls required |  |  |  |
| Other: |  |  |  |
| Other: |  |  |  |
| Other: |  |  |  |
| Attachments (other documents/plans, etc) |  |  |  |

| Section 3 – Implementation |  |  |
| --- | --- | --- |
| Atmospheric Testing / Monitoring Guide: |  |  |
| Atmospheric Issue | Safe Level | Caution (entry during emergency response / with additional controls only) |
| Oxygen | > 19.5 % and up to 23.5% | < 19.5% need positive pressure supplied air breathing apparatus. |
| Contaminants: CO H2S CO2 NH3 Other | < 30 ppm < 10 ppm < 5000 ppm < 25 ppm As per specific exposure standards | Generally, positive pressure supplied air breathing apparatus may be worn at levels approaching and slightly over the exposure standard as determined necessary as part of Risk Assessment and control measure implementation. |
| LEL | < 5% | > 5% and up to 10 % Entry permitted in emergency response. However, if during work the level rises to above 5% and up to 10%, persons are to evacuate, unless a suitably calibrated combustible substance detector is used at all times while people are in the space. |
| For other contaminants not listed, specific monitoring devices and pre-work planning will be required to ensure safe entry / work. |  |  |
| Bump Test Certificate: |  |  |
| PLEASE ATTACH HERE IF AIR MONITOR PRODUCES A BUMP TEST CERTIFICATE (if applicable) |  |  |

| Confined Space - PTW Number / WO Number: |  |
| --- | --- |

| Atmospheric Test Results: |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| When |  | Atmospheric Test Results |  |  |  |  |  |  | Verification |  |  |  |
| Date | Time | O2 | CO | H2S |  | LEL | CO2 | NH3 | Meter Number |  | Entry Permitted (Yes / No) | Name of Competent Tester |
| The atmosphere in the space is safe to enter: (tick appropriate box) |  |  |  |  |  |  |  |  |  |  |  |  |
| Without respiratory protection |  |  |  |  | With an air purifying device |  |  |  |  | With a supplied-air device |  |  |

| Section 4 - Entry Authorisation (On-Site Supervisor in Direct Control) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| The procedures, control measures and precautions appropriate for the safe entry &/or execution of work in this confined space have been implemented and the persons required to work in the confined space have been advised of and understand the requirements of the Risk Assessment and this Control Form. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Name: |  |  |  |  |  | Signature: |  |  |  | Date: |  |  |  |  | Time: |  |
| Constraints: |  | This Entry Authorisation is valid until the following occurs, or the date and time shown: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  | Date: |  |  |  |  | Time: |  |
| Section 5 – Standby Person |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| As the Standby Person for this confined space, I certify that: - I understand the procedures for entry and work in the confined space and have had all the criteria of the confined space permit explained to me by the On-site Supervisor. - I acknowledge that I will always comply with the provisions of the permit for the duration of the confined space work. - I confirm that I am trained and competent to perform this role. - I understand my responsibilities in the event of an emergency, including maintaining continuous communication with personnel inside the confined space, initiating the emergency response plan, and ensuring that rescue procedures are implemented promptly and safely. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Sign On |  |  |  |  |  |  |  |  | Sign Off |  |  |  |  |  |  |  |
| Print Name (First & Last) |  |  | Date |  | Time |  | Signature |  | Date |  | Time |  |  | Signature |  |  |
| Confined Space - PTW Number / WO Number: |  |  |  |  |  |  |  |  |  |  |  |  |

| Section 6 - People Entry and Exit |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| I, the undersigned, hereby acknowledge that: - I understand the procedures, control measures, and precautions to be observed during entry, work, and exit from this confined space. - I will always comply with these requirements and immediately report any new or unforeseen hazards that may present a risk to health or safety. - I understand that this sign-on also represents a sign-on to the overall Permit to Work that this confined space entry is part of. - I am trained and competent to perform the tasks required within the confined space. - I understand my responsibilities in the event of an emergency, including following the emergency response plan, maintaining communication with the standby person, and evacuating promptly if directed. |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Sign On |  |  |  |  |  |  | Sign Off |  |  |  |  |  |  |
| Print Name (First & Last) |  | Date | Time |  | Signature |  | Date |  | Time |  | Signature |  |  |
| Section 7 - Withdrawal of Entry Authorisation (On-Site Supervisor in Direct Control) |  |  |  |  |  |  |  |  |  |  |  |  |  |
| All persons and equipment have been accounted for, and the equipment and confined space have been restored correctly and safely. The Risk Assessment, Permit to Work, and this Control Form must be returned to the PBPL Engager. |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Name: |  |  |  | Signature: |  |  |  | Date: |  |  |  | Time: |  |