| Work at Heights - PTW Number / WO Number: |  |
| --- | --- |

Introduction

This Permit to Work (PTW) form is designed to ensure all work at heights activities are planned, assessed, and executed in compliance with Queensland WHS Regulation 2011, Safe Work Australia Codes of Practice, and relevant Australian Standards (e.g., AS 2550.10). It captures essential details of the work activity, location, and access method, and identifies specific control measures required to manage risks associated with elevated work platforms (EWPs), scaffolding, temporary edge protection, personal fall protection systems, and rescue provisions. Completing this form helps verify that appropriate controls are in place to prevent falls, falling objects, and other hazards, ensuring a safe work environment for all personnel involved.

| Section 1 – Work at Heights / Access Details |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Work Activity Title: (As per Work Activity Risk Assessment) |  |  |  |  |  |  |
| Scope of work: |  |  |  |  |  |  |
| Location: |  |  |  |  |  |  |
| Method of access / work at heights: |  |  |  |  |  |  |
| Section 2 – Work at Heights & Access Permit Requirements |  |  |  |  |  |  |
| As per the method of access / work at heights described in the Work Activity Risk Assessment, identify control requirements in the relevant parts below or mark as not applicable. |  |  |  |  |  |  |
| Elevating Work Platform (EWP) Requirements Aligned with QLD WHS Regulation 2011, Safe Work Australia codes, and AS 2550.10 standards. |  |  |  | NA (Not Applicable) |  |  |
| EWP Controls: |  | Yes | NA | If Yes, Include Additional Control Details to be Used: |  |  |
| Minimum clearance distances will need to be maintained from overhead hazards (power lines, structures, moving plant, etc). Use AS 2550.10:2025 and SWMS to document required clearance distances. |  |  |  |  |  |  |
| Specific controls will be required to ensure an appropriate (stable and flat) ground / surface slope for placement of the EWP |  |  |  |  |  |  |
| Barriers or signage will need to be erected around the EWP (to restrict access by persons or other plant items) |  |  |  |  |  |  |
| EWP of boom length ≥11m & will require a certified operator |  |  |  |  |  |  |
| People using the EWP will be familiar with set-up, control of the EWP and emergency egress |  |  |  |  |  |  |
| Other: |  |  |  |  |  |  |
| Scaffolding Requirements Aligned with QLD legislation (WHS Reg 2011 Part 6.3) and Safe Work Australia / AS 4576-2020 standards. |  |  |  | NA (Not Applicable) |  |  |
| Type of Scaffold: |  |  |  |  | Yes | NA |
| Prefabricated scaffold (fixed length components, fittings and general design configuration) |  |  |  |  |  |  |
| Mobile scaffold (free-standing, movable scaffold) |  |  |  |  |  |  |
| Tube and couple scaffold (variable lengths of tube, couple attachments and configurations) |  |  |  |  |  |  |
| Complex scaffold (cantilevered, hung, other complex configuration): Details: |  |  |  |  |  |  |
| Scaffold Controls: |  |  |  |  | Yes | NA |
| The scaffold will be erected / dismantled by a certified scaffolder (mandatory if deck is >4m from ground / surface) |  |  |  |  |  |  |
| A Scaffolding Code of Practice 2021–compliant plan or Safe Work Method Statement (SWMS) has been developed. Risk assessments, documented erection/dismantling procedures, and inspection protocols must align with AS 4576:2020. Provide plan or drawing number / reference: |  |  |  |  |  |  |
| Barriers will be erected around the scaffold during erection / dismantling (to prevent potential falling object incidents) |  |  |  |  |  |  |
| The scafftag process (as required under AS 1576/AS 4576)will be used to clearly identify safe scaffold access conditions |  |  |  |  |  |  |
| To ensure the safety of those erecting / dismantling, indicate which of the following will be implemented: |  |  |  |  |  |  |
| - a prescribed scaffold work method will be used (immediate and progressive installation of platform and edge protection, internal ladder/stair access and retention of full deck, to ensure falls >2m are prevented as mandated in AS 4576:2020). |  |  |  |  |  |  |
| - a fall arrest harness system will be used (only suitable where anchorages of ≥15 kN & safe fall clearances exist). |  |  |  |  |  |  |
| - an alternative safe work at height method will be used, as detailed: |  |  |  |  |  |  |

| Work at Heights - PTW Number / WO Number: |  |
| --- | --- |

| The scaffold is to be a fixed scaffold that will be: - safely secured via scaffold ties and appropriate base plate supports, - erected with adequate access provisions, edge protection and falling object protection. |  |  |
| --- | --- | --- |
| The scaffold is to be a mobile scaffold that will be: - ≤ 3-times the smallest base width, - supported on adjustable and lockable castors to ensure the scaffold is level and not able to move when locked, - erected with adequate access provisions, edge protection and falling object protection as per AS 1576 design requirements |  |  |

| Temporary Edge Protection or Cover Requirements Aligns with QLD WHS Regulation 2011 (Reg 306E), Safe Work Australia Codes, and AS/NZS 4994 parts 1–4 standards. |  |  | NA (Not Applicable) |  |  |
| --- | --- | --- | --- | --- | --- |
| Type of Temporary Edge Protection or Cover: |  |  |  | Yes | NA |
| Fixed handrails along an unprotected edge or guardrails along an unprotected rooftop edge |  |  |  |  |  |
| Movable edge protection, secured in place around a penetration |  |  |  |  |  |
| Movable cover, secured in place over a penetration (adequate for potential loadings of people & equipment) |  |  |  |  |  |
| Edge Protection or Cover Controls: | Yes | NA | If Yes, Include Additional Control Details to be Used: |  |  |
| Specific controls will be required to fix a movable cover in place and clearly warn people of its location |  |  |  |  |  |
| Specific controls will be required to ensure the edge protection can be erected from a safe location and without the installing person being exposed to a fall hazard |  |  |  |  |  |
| Due to the nature of edge protection to be secured, a certified scaffolder or similar competent person, will be required to set up the temporary edge protection |  |  |  |  |  |
| Mandatory if setting up edge protection rather than a cover - The edge protection to be set-up will be: - capable of withstanding the potential force of a person falling downwards or outwards onto the barrier, - at least 900mm high with additional rails, infill, etc to prevent persons falling through or under the barrier, - not able to be dislodged from an edge or from over a penetration by a person falling against it. |  |  |  |  |  |
| Personal Fall Protective Equipment Requirements align with QLD WHS Regulation 2011, Safe Work Australia Codes, and AS/NZS 1891 series standards |  |  | NA (Not Applicable) |  |  |
| Type of System to be Used: |  |  |  | Yes | NA |
| Travel restraint system - (use of harness, suitable attachments, anchorage line that does not allow a person into a fall position): - will have an adequate anchorage(s) to withstand potential loadings (6 kN for single person attachment) - will enable people to attach to the system prior to being in a position where they could fall - will not come into contact with anything that could affect the integrity of the system |  |  |  |  |  |
| Fall arrest system – (use of a harness, lanyard assembly/shock absorbing device, anchorage, in a potential fall position): - will have an adequate anchorage(s) to withstand potential loadings (15 kN for single person attachment) - will enable people to attach to the system prior to being in a position where they could fall - will not come into contact with anything that could affect the integrity of the system - will consist of a device (shock absorbing device) to ensure that ≤6kN of force could be applied to a falling person - will allow enough fall clearance for those who may fall, once force has been applied to all system components - will enable a rescue/retrieval method to be implemented (provide details below) |  |  |  |  |  |
| if it is a fixed/permanent system – inspection records have been reviewed and are current |  |  |  |  |  |

| Work at Heights - PTW Number / WO Number: |  |
| --- | --- |

| Rescue / Retrieval Considerations (WHS Regulation requires a rescue procedure whenever fall arrest is used): |  |  |  | o NA (Not Applicable) |
| --- | --- | --- | --- | --- |
| Minimum provisions required: | Yes | NA | Provide Additional Details – Specifically for Complex Access Scenarios: |  |
| Stand-by person |  |  |  |  |
| Safety harness/rescue kit in vicinity with competent user(s) |  |  |  |  |
| Specific retrieval equipment / plant items |  |  |  |  |
| Copy of rescue plan / procedure provided |  |  |  |  |
| Other: |  |  |  |  |
| Falling Object & Other Precautions align to QLD WHS Regulation 2011, Safe Work Australia Codes, and AS/NZS 1891 series standards |  |  |  |  |
| Other items required: | Yes | NA | Provide Clarifying Details as Required: |  |
| Temporary barrier mesh to restrict access |  |  |  |  |
| Tool restraints / lanyards to be used at height |  |  |  |  |
| Catch platforms / decks for falling objects |  |  |  |  |
| Covers over sharp roof / plant edges |  |  |  |  |
| Head protection |  |  |  |  |
| Specific access clearance / keys for controlled areas |  |  |  |  |
| Warning notices / barricades required |  |  |  |  |
| Specific lighting provisions required |  |  |  |  |
| Other: |  |  |  |  |
| Attachments (other documents/plans prepared) |  |  |  |  |