| Work at Heights - PTW Number / WO Number: |  |
| --- | --- |

| Section 1 – Work at Heights / Access Details |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Work Activity Title: (As per Work Activity Risk Assessment) |  |  |  |  |  |  |
| Nature of work to be undertaken: (reason for access) |  |  |  |  |  |  |
| PBPL Area / Location: |  |  |  |  |  |  |
| Method of access / work at heights: |  |  |  |  |  |  |
| Section 2 – Work at Heights & Access Permit Requirements |  |  |  |  |  |  |
| As per the method of access / work at heights described in the Work Activity Risk Assessment, identify control requirements in the relevant parts below or mark as not applicable. |  |  |  |  |  |  |
| Elevating Work Platform (EWP) Requirements |  |  |  | NA (Not Applicable) |  |  |
| EWP Controls: |  | Yes | NA | If Yes, Include Additional Control Details to be Used: |  |  |
| Minimum clearance distances will need to be maintained from overhead hazards (power lines, structures, moving plant, etc) |  |  |  |  |  |  |
| Specific controls will be required to ensure an appropriate ground / surface slope for placement of the EWP |  |  |  |  |  |  |
| Barriers or signage will need to be erected around the EWP (to restrict access by persons or other plant items) |  |  |  |  |  |  |
| EWP of boom length >11m & will require a certified operator |  |  |  |  |  |  |
| People using the EWP will be familiar with set-up, control of the EWP and emergency egress |  |  |  |  |  |  |
| Other: |  |  |  |  |  |  |
| Scaffolding Requirements |  |  |  | NA (Not Applicable) |  |  |
| Type of Scaffold: |  |  |  |  | Yes | NA |
| Prefabricated scaffold (fixed length components, fittings and general design configuration) |  |  |  |  |  |  |
| Mobile scaffold (free-standing, movable scaffold) |  |  |  |  |  |  |
| Tube and couple scaffold (variable lengths of tube, couple attachments and configurations) |  |  |  |  |  |  |
| Complex scaffold (cantilevered, hung, other complex configuration): Details: |  |  |  |  |  |  |
| Scaffold Controls: |  |  |  |  | Yes | NA |
| The scaffold will be erected / dismantled by a certified scaffolder (mandatory if deck is >4m from ground / surface) |  |  |  |  |  |  |
| A scaffold plan has been developed. Provide plan or drawing number / reference: |  |  |  |  |  |  |
| Barriers will be erected around the scaffold during erection / dismantling (to prevent potential falling object incidents) |  |  |  |  |  |  |
| The scafftag process will be used to clearly identify safe scaffold access conditions |  |  |  |  |  |  |
| To ensure the safety of those erecting / dismantling, indicate which of the following will be implemented: |  |  |  |  |  |  |
| - a prescribed scaffold work method will be used (immediate and progressive installation of platform and edge protection, internal ladder/stair access and retention of full deck, to ensure falls >2m are prevented). |  |  |  |  |  |  |
| - a fall arrest harness system will be used (only suitable where anchorages of 15 kN & safe fall clearances exist). |  |  |  |  |  |  |
| - an alternative safe work at height method will be used, as detailed: |  |  |  |  |  |  |
| The scaffold is to be a fixed scaffold that will be: - safely secured via scaffold ties and appropriate base plate supports, - erected with adequate access provisions, edge protection and falling object protection. |  |  |  |  |  |  |
| The scaffold is to be a mobile scaffold that will be: - no greater than 9m high or 3-times the smallest base dimension, - supported on adjustable and lockable castors to ensure the scaffold is level and not able to move when locked, - erected with adequate access provisions, edge protection and falling object protection. |  |  |  |  |  |  |

| Work at Heights - PTW Number / WO Number: |  |
| --- | --- |

| Temporary Edge Protection or Cover Requirements |  |  |  |  |  | NA (Not Applicable) |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Type of Temporary Edge Protection or Cover: |  |  |  |  |  |  | Yes | NA |
| Fixed handrails along an unprotected edge or guardrails along an unprotected rooftop edge |  |  |  |  |  |  |  |  |
| Movable edge protection, secured in place around a penetration |  |  |  |  |  |  |  |  |
| Movable cover, secured in place over a penetration (adequate for potential loadings of people & equipment) |  |  |  |  |  |  |  |  |
| Edge Protection or Cover Controls: |  |  |  | Yes | NA | If Yes, Include Additional Control Details to be Used: |  |  |
| Specific controls will be required to fix a movable cover in place and clearly warn people of its location |  |  |  |  |  |  |  |  |
| Specific controls will be required to ensure the edge protection can be erected from a safe location and without the installing person being exposed to a fall hazard |  |  |  |  |  |  |  |  |
| Due to the nature of edge protection to be secured, a certified scaffolder or similar competent person, will be required to set up the temporary edge protection |  |  |  |  |  |  |  |  |
| Mandatory if setting up edge protection rather than a cover - The edge protection to be set-up will be: - capable of withstanding the potential force of a person falling downwards or outwards onto the barrier, - at least 900mm high with additional rails, infill, etc to prevent persons falling through or under the barrier, - not able to be dislodged from an edge or from over a penetration by a person falling against it. |  |  |  |  |  |  |  |  |
| Personal Fall Protective Equipment Requirements |  |  |  |  |  | NA (Not Applicable) |  |  |
| Type of System to be Used: |  |  |  |  |  |  | Yes | NA |
| Travel restraint system - (use of harness, suitable attachments, anchorage line that does not allow a person into a fall position): - will have an adequate anchorage(s) to withstand potential loadings (6 kN for single person attachment) - will enable people to attach to the system prior to being in a position where they could fall - will not come into contact with anything that could affect the integrity of the system |  |  |  |  |  |  |  |  |
| Fall arrest system – (use of a harness, lanyard assembly/shock absorbing device, anchorage, in a potential fall position): - will have an adequate anchorage(s) to withstand potential loadings (15 kN for single person attachment) - will enable people to attach to the system prior to being in a position where they could fall - will not come into contact with anything that could affect the integrity of the system - will consist of a device (shock absorbing device) to ensure that no greater than 6kN of force could be applied to a falling person - will allow enough fall clearance for those who may fall, once force has been applied to all system components - will enable a rescue/retrieval method to be implemented (provide details below) |  |  |  |  |  |  |  |  |
| if it is a fixed/permanent system – inspection records have been reviewed and are current |  |  |  |  |  |  |  |  |
| Rescue / Retrieval Considerations: |  |  |  |  |  | NA (Not Applicable) |  |  |
| Minimum provisions required: | Yes | NA | Provide Additional Details – Specifically for Complex Access Scenarios: |  |  |  |  |  |
| Stand-by person |  |  |  |  |  |  |  |  |
| Safety harness/rescue kit in vicinity with competent user(s) |  |  |  |  |  |  |  |  |
| Specific retrieval equipment / plant items |  |  |  |  |  |  |  |  |
| Other: |  |  |  |  |  |  |  |  |
| Falling Object & Other Precautions |  |  |  |  |  |  |  |  |
| Other items required: | Yes | NA | Provide Clarifying Details as Required: |  |  |  |  |  |
| Temporary barrier mesh to restrict access |  |  |  |  |  |  |  |  |
| Tool restraints / lanyards to be used at height |  |  |  |  |  |  |  |  |
| Catch platforms / decks for falling objects |  |  |  |  |  |  |  |  |
| Covers over sharp roof / plant edges |  |  |  |  |  |  |  |  |
| Head protection |  |  |  |  |  |  |  |  |
| Specific access clearance / keys for controlled areas |  |  |  |  |  |  |  |  |
| Warning notices / barricades required |  |  |  |  |  |  |  |  |
| Specific lighting provisions required |  |  |  |  |  |  |  |  |
| Other: |  |  |  |  |  |  |  |  |
| Attachments (other documents/plans prepared) |  |  |  |  |  |  |  |  |